## 1
No. of compounds |  |  |  |  | 10 |  |  |  | factor | Temperature | Adsorbent radius | E33 conc |  | Column diameter | Bed depth
Number of radial collocation points, NC (2-8) |  | 23.8048 |  |  | 5 |  |  |  | * these cells are unused
Number of axial collocation points, MC (2-8) |  | 25.7991 |  |  | 9
Compounds information | [8 empty] | 5 | 1 | 1 | 1 | 1 | 1 | 1
Compound name |  | Figure 6.8 | WRF RSSCT 2 pH=6 | WRF RSSCT 1 pH=8.3 | Park City Data | DeNora (E33 BM Trial 2) pH=~8.0-8.5 | AsO4(-3) at pH = 6 |  |  |  | AsO4(3-) | Vanadate
Freundlich isotherm capacity K, (mg/g)(L/mg)^(1/n) | 14 | 24 | 24 | 14 | 24 | 24 | 20 |  |  |  | 0.5 | 0.5
Freundlich isotherm exponents 1/n, dimensionless | 0.3 | 0.3 | 0.3 | 0.3 | 0.33 | 0.33 | 0.3 |  |  |  | 0.48 | 0.37
Initial concentration CB0, mg/L |  | 0.18736 | 0.18736 | 0.18594 | 0.0262 | 0.006 | 0.02 | 24.5812 |  |  | 0.182 | 0.157 | 0.0135
Molecular weight MW, g/mol | 141.94 | 141.94 | 141.94 | 141.94 | 138.919 | 138.919 | 139 | 0.7906 |  |  | 139 | 1000
Molar volume at the normal boiling point VB, ml/mol | 13 | 13 | 13 | 13 | 13 | 13 | 13 |  |  |  | 13 | 1000
C0 = Initial Molar Concentration (umol/L) | 100
Filter configuration
Bed depth L, cm | 4 | 4 | 4 | 4 | 4 | 3.2 | 4 | 4
Column diameter DIA, cm | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 0.43 | 1.1
Weight of sorbent WT, g | 4.2 | 4.2 | 4.2 | 4.2 | 4.2 | 0.4 | 4.2
Flow rate Q, ml/min | 22 | 22 | 22 | 22 | 22 | 2.265 | 22 | 22 | 38.33
EBCT, min | 0.17 | 0.17279 | 0.17279 | 0.17279 | 0.17279 | 0.20517 | 0.17279
temperature T, ℃ | 25 | 25 | 25 | 25 | 25 | 25 | 20
Sorbent properties
Name
Apparent adsorbent density RHOP, g/cm^3 | 0.67 | 1.5 | 1.5 | 1.5 | 1.5 | 1.1733 | 1.5 | 1.5 | 0.8034
Particle porosity ε EPOR, dimensionless | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 |  | 0.25
Adsorbent radius rp RAD, cm | 0.037 | 0.0064 | 0.0064 | 0.0064 | 0.0064 | 0.0048 | 0.0064 | 0.0064 | 0.0105
Tortuosity, TOR | 12.25 | 10 | 10 | 10 | 10 | 10 | 1e+20 |  | 1e+20
Kinetics parameters | If left empty, then the parameters are automatically calculated by the program |  | If left empty, then the parameters are automatically calculated by the program | If left empty, then the parameters are automatically calculated by the program | If left empty, then the parameters are automatically calculated by the program | If left empty, then the parameters are automatically calculated by the program | If left empty, then the parameters are automatically calculated by the program
Film transfer coefficient Kf, cm/s | 0.004 | 0.0018 | 0.004 | 0.004 | 0.004 | 0.004 | 0.004 | 105 | 111 | 0.004
Surface diffusivity Ds, cm^2/s | 3e-12 | 1.3e-12 | 3e-12 | 3e-12 | 3e-12 | 3e-12 | 3e-12 | 1360000000 | 7990000000
Pore diffusivity Dp, cm^2/s | [6 empty] | 1.04e-06 | 6230000 | 6800000
SPDFR | 1e-19 | [5 empty] | 1e-30 | 1e-30 | 1e-30
Operation parameters
Total run time, min | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000
Start time, min | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid diffusivity DL, cm^2/s | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 1e-05 | 1e-05
Sc
Biot | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
end of input data | 1 | 1 | 1 | 1 | 1 | 1 |  | 1
These values are from MCS_Vary_Trial_3 randomized numbers |  |  |  |  | AsO4(3-)
18.9127
0.33753
0.029173
139
13
6.6932
1.5215
6.9961
19.0999
0.6371
26.8048
2.3442
0.24526
0.0057287
4.5108
If left empty, then the parameters are automatically calculated by the program
0.004
3e-12
1.04e-06
1e-30
50000
0
1e-05

## RawData
WRF (pH=8.3) - Test 1 |  | WRF (pH=6.0) - Test 2 |  | WRF (pH=8.3) - Test 1 |  | WRF (pH=6.0) - Test 2 |  | Park City |  | DeNORA (E33 BM Trial 2) pH ~ 8-8.5 |  |  |  | Test 1 at pH = 8.3 |  |  |  | Test 2 at pH = 6.0
BVT | % breakthrough | BVT | % breakthrough | BVT | % breakthrough | BVT | % breakthrough | BVT | % breakthrough | BVT | % breakthrough |  |  | Time (days) | Time (min) | BVT | As/Aso | Time (days) | Time (min) | BVT | As/Aso
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17.02 | 0.020984 | 0 | 0.012855 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | time | Y
2893.7262 | 0 | 11574.905 | 0 | 2083.4829 | 1 | 4166.9658 | 1 | 124.8425 | 0.0033105 | 17.02 | 0.0077839 |  |  | 0.34722 | 500 | 2893.7262 | 0 | 1.3889 | 2000 | 11574.905 | 0 | 0 | 519.1253 | 0.3605 | 0.0011012
3472.4715 | 1 | 14468.6312 | 1 | 2500.1795 | 3 | 5833.7521 | 3 | 389.0272 | 0.014532 | 124.8425 | 0.010262 |  |  | 0.41667 | 600 | 3472.4715 | 0.01 | 1.7361 | 2500 | 14468.6312 | 0.01 | 0.01 | 536.1385 | 0.37232 | 0.0012832
8102.4335 | 2 | 26043.5361 | 2 | 3958.6175 | 11 | 8750.6281 | 4 | 712.5981 | -0.00023162 | 389.0272 | 0.016025 |  |  | 0.97222 | 1400 | 8102.4335 | 0.02 | 3.125 | 4500 | 26043.5361 | 0.02 | 0.015 | 553.1517 | 0.38413 | 0.0015213
8681.1787 | 4 | 34724.7149 | 5.5 | 6250.4487 | 28 | 10209.0662 | 7 | 1654.5935 | 0.0081698 | 712.5981 | 0.0083542 |  |  | 1.0417 | 1500 | 8681.1787 | 0.04 | 4.1667 | 6000 | 34724.7149 | 0.055 | 0.1 | 570.165 | 0.39595 | 0.001819
10128.0418 | 5 | 41669.6578 | 7.5 | 7917.235 | 38 | 11875.8525 | 18 | 2000 | 0.012757 | 1750 | 0.022714 |  |  | 1.2153 | 1750 | 10128.0418 | 0.05 | 5 | 7200 | 41669.6578 | 0.075 | 0.3 | 587.1782 | 0.40776 | 0.0021747
15915.4943 | 16 | 48903.9734 | 18 | 8333.9316 | 42 | 12917.5939 | 25 | 3000 | 0.0091777 | 2069.0964 | 0.048359 |  |  | 1.9097 | 2750 | 15915.4943 | 0.16 | 5.8681 | 8450 | 48903.9734 | 0.18 | 0.32 | 611.4003 | 0.42458 | 0.0027697
24596.673 | 27 | 50929.5818 | 24 | 10209.0662 | 55 | 14167.6837 | 30 | 3300 | 0.005634 | 2943.5587 | 0.14719 |  |  | 2.9514 | 4250 | 24596.673 | 0.27 | 6.1111 | 8800 | 50929.5818 | 0.24 | 0.4 | 635.6225 | 0.4414 | 0.0034476
25754.1635 | 30 | 56717.0343 | 31 | 10834.111 | 62 | 15001.0768 | 34 | 6000 | 0.1285 | 6150 | 0.14832 |  |  | 3.0903 | 4450 | 25754.1635 | 0.3 | 6.8056 | 9800 | 56717.0343 | 0.31 | 0.42 | 659.8446 | 0.45823 | 0.0041908
31830.9886 | 40 | 59900.1331 | 36 |  |  | 17084.5597 | 58 | 6795.3437 | 0.17094 | 7000 | 0.17211 |  |  | 3.8194 | 5500 | 31830.9886 | 0.4 | 7.1875 | 10350 | 59900.1331 | 0.36 | 0.55 | 684.0668 | 0.47505 | 0.0050027
33277.8517 | 43 | 66555.7035 | 56 |  |  | 17501.2563 | 62 | 8000 | 0.25544 | 10056.32 | 0.20424 |  |  | 3.9931 | 5750 | 33277.8517 | 0.43 | 7.9861 | 11500 | 66555.7035 | 0.56 | 0.6 | 708.2889 | 0.49187 | 0.0059162
40512.1673 | 55 | 68002.5666 | 57 |  |  | 18334.6494 | 73 | 10000 | 0.40283 | 13891.3556 | 0.25008 |  |  | 4.8611 | 7000 | 40512.1673 | 0.55 | 8.1597 | 11750 | 68002.5666 | 0.57 |  | 732.5111 | 0.50869 | 0.0069918
43116.5209 | 61 | 70606.9202 | 64 |  |  | 18959.6943 | 75 | 14000 | 0.58988 | 15726.3912 | 0.26468 |  |  | 5.1736 | 7450 | 43116.5209 | 0.61 | 8.4722 | 12200 | 70606.9202 | 0.64 |  | 762.8002 | 0.52972 | 0.0086799
|  | 72921.9012 | 74 |  |  |  |  | 15726.3912 | 0.6876 | 17000 | 0.27837 | [6 empty] | 8.75 | 12600 | 72921.9012 | 0.74 |  | 793.0894 | 0.55076 | 0.010874
|  | 76394.3727 | 76 |  |  |  |  | 16500 | 0.71176 | 20185 | 0.29753 | [6 empty] | 9.1667 | 13200 | 76394.3727 | 0.76 |  | 823.3785 | 0.57179 | 0.013647
|  | 81603.0799 | 91 |  |  |  |  | 17000 | 0.68944 | 21184.9493 | 0.29028 | [6 empty] | 9.7917 | 14100 | 81603.0799 | 0.91 |  | 853.6677 | 0.59282 | 0.016991
|  | 84496.8062 | 94 |  |  |  |  | 20750 | 0.79954 | 24430.9177 | 0.29487 | [6 empty] | 10.1389 | 14600 | 84496.8062 | 0.94 |  | 883.9568 | 0.61386 | 0.020871
[8 empty] | 23000 | 0.82986 | 27676.886 | 0.31298 | [11 empty] | 914.246 | 0.63489 | 0.025299
[8 empty] | 27676.886 | 0.87777 | 29615 | 0.30424 | [11 empty] | 945.2668 | 0.65644 | 0.030553
[8 empty] | 29160.3833 | 0.86454 | 30900 | 0.3136 | [11 empty] | 976.2876 | 0.67798 | 0.036831
[8 empty] | 30500.8805 | 0.87405 | 35021.8383 | 0.358 | [11 empty] | 1007.3084 | 0.69952 | 0.044484
[8 empty] | 35021.8383 | 0.86042 | 36682 | 0.36819 |  |  | Experimental Conditions | [8 empty] | 1038.3292 | 0.72106 | 0.053764
[8 empty] | 36600 | 0.84836 | 42442.3848 | 0.38402 |  |  | Column Diameter | D | 1.1 | cm | [5 empty] | 1069.35 | 0.7426 | 0.064733
[8 empty] | 41500 | 0.90441 | 48671.1924 | 0.42656 |  |  | Column Length | L | 4 | cm | [5 empty] | 1100.3708 | 0.76415 | 0.077273
[8 empty] | 42300.3848 | 0.92858 | 52180 | 0.50463 |  |  | Flow Rate | Q | 22 | mL/min | [5 empty] | 1137.1944 | 0.78972 | 0.093929
[8 empty] | 48480 | 0.94657 |  |  |  |  | Volume | V | 3.8013 | [6 empty] | 1174.018 | 0.81529 | 0.11202
[8 empty] | 50001.0074 | 0.96039 |  |  |  |  | EBCT | EBCT | 0.17279 | [6 empty] | 1210.8416 | 0.84086 | 0.13079
[23 empty] | 1247.6652 | 0.86643 | 0.14949
[23 empty] | 1284.4887 | 0.89201 | 0.16732
[23 empty] | 1321.3123 | 0.91758 | 0.18405
[11 empty] | 0.070703 | 0.012855 | 0.012855 | [9 empty] | 1358.6954 | 0.94354 | 0.20002
[11 empty] | 0.042811 | 0.0077839 | 0.0077839 | [9 empty] | 1396.0785 | 0.9695 | 0.21519
[11 empty] | 0.05644 | 0.010262 | 0.010262 | [9 empty] | 1433.4615 | 0.99546 | 0.22971
[11 empty] | 0.088138 | 0.016025 | 0.016025 | [9 empty] | 1470.8446 | 1.0214 | 0.24368
[11 empty] | 0.045948 | 0.0083542 | 0.0083542 | [9 empty] | 1508.2277 | 1.0474 | 0.25719
[11 empty] | 0.12493 | 0.022714 | 0.022714 | [9 empty] | 1545.6108 | 1.0733 | 0.2703
[11 empty] | 0.26598 | 0.048359 | 0.048359 | [9 empty] | 1603.6367 | 1.1136 | 0.28999
[11 empty] | 0.80953 | 0.14719 | 0.14719 | [9 empty] | 1661.6626 | 1.1539 | 0.30889
[11 empty] | 0.81578 | 0.14832 | 0.14832 | [9 empty] | 1719.6885 | 1.1942 | 0.32692
[11 empty] | 0.94658 | 0.17211 | 0.17211 | [9 empty] | 1777.7144 | 1.2345 | 0.34429
[23 empty] | 1835.7403 | 1.2748 | 0.36089
[11 empty] | 1.1233 | 0.20424 | 0.20424 | [9 empty] | 1893.7662 | 1.3151 | 0.37679
[11 empty] | 1.3755 | 0.25008 | 0.25008 | [9 empty] | 1987.4148 | 1.3801 | 0.40109
[11 empty] | 1.4557 | 0.26468 | 0.26468 | [9 empty] | 2081.0633 | 1.4452 | 0.42374
[11 empty] | 1.531 | 0.27837 | 0.27837 | [9 empty] | 2174.7118 | 1.5102 | 0.44489
[11 empty] | 1.6364 | 0.29753 | 0.29753 | [9 empty] | 2268.3604 | 1.5753 | 0.46461
[11 empty] | 1.5966 | 0.29028 | 0.29028 | [9 empty] | 2362.0089 | 1.6403 | 0.48303
[11 empty] | 1.6218 | 0.29487 | 0.29487 | [9 empty] | 2548.8141 | 1.77 | 0.51622
[11 empty] | 1.7214 | 0.31298 | 0.31298 | [9 empty] | 2735.6192 | 1.8997 | 0.54531
[23 empty] | 2922.4244 | 2.0295 | 0.57091
[11 empty] | 1.6733 | 0.30424 | 0.30424 | [9 empty] | 3109.2296 | 2.1592 | 0.59354
[11 empty] | 1.7248 | 0.3136 | 0.3136 | [9 empty] | 3296.0347 | 2.2889 | 0.61365
[11 empty] | 1.969 | 0.358 | 0.358 | [9 empty] | 3490.9278 | 2.4243 | 0.63235
[11 empty] | 2.0251 | 0.36819 | 0.36819 | [9 empty] | 3685.8209 | 2.5596 | 0.64909
[11 empty] | 2.1121 | 0.38402 | 0.38402 | [9 empty] | 3880.714 | 2.6949 | 0.66417
[11 empty] | 2.3461 | 0.42656 | 0.42656 | [9 empty] | 4075.6071 | 2.8303 | 0.67783
[11 empty] | 2.7755 | 0.50463 | 0.50463 | [9 empty] | 4270.5003 | 2.9656 | 0.6903
[23 empty] | 4496.279 | 3.1224 | 0.70342
[23 empty] | 4722.0577 | 3.2792 | 0.71539
[23 empty] | 4947.8364 | 3.436 | 0.72637
[23 empty] | 5173.6151 | 3.5928 | 0.73646
[23 empty] | 5399.3938 | 3.7496 | 0.74582
[23 empty] | 5625.1725 | 3.9064 | 0.75454
[23 empty] | 5983.2498 | 4.155 | 0.76721
[23 empty] | 6341.3272 | 4.4037 | 0.77868
[23 empty] | 6699.4046 | 4.6524 | 0.78914
[23 empty] | 7057.4819 | 4.901 | 0.79872
[23 empty] | 7415.5593 | 5.1497 | 0.80754
[23 empty] | 7773.6366 | 5.3984 | 0.81569
[23 empty] | 8393.1488 | 5.8286 | 0.82843
[23 empty] | 9012.6609 | 6.2588 | 0.83969
[23 empty] | 9632.1731 | 6.689 | 0.84969
[23 empty] | 10251.6852 | 7.1192 | 0.85864
[23 empty] | 10871.1974 | 7.5494 | 0.86668
[23 empty] | 11490.7095 | 7.9797 | 0.87393
[23 empty] | 12755.3412 | 8.8579 | 0.88675
[23 empty] | 14019.9729 | 9.7361 | 0.89742
[23 empty] | 14400 | 10 | 0.90027

## 2
t /min | cin(MIB)/ umole/gram | cin(NOM)/ umole/gram | Ndata
0.1 | 0 | 0 | 344
0.10626 | 4.5343e-13 | 4.8796e-11
0.10853 | -8.2438e-11 | -1.122e-08
0.11038 | -1.7404e-10 | -2.3677e-08
0.11224 | -2.0615e-10 | -2.8017e-08
0.11409 | -9.5251e-11 | -1.2813e-08
0.11561 | 1.1714e-10 | 1.6286e-08
0.11685 | 3.7007e-10 | 5.0956e-08
0.11809 | 6.7143e-10 | 9.2291e-08
0.11933 | 9.7822e-10 | 1.344e-07
0.12145 | 1.3905e-09 | 1.9101e-07
0.12357 | 1.4616e-09 | 2.0067e-07
0.12569 | 9.6963e-10 | 1.3263e-07
0.12741 | 6.5377e-11 | 7.5452e-09
0.12913 | -1.2732e-09 | -1.7783e-07
0.13084 | -2.9103e-09 | -4.0481e-07
0.13256 | -4.6262e-09 | -6.4303e-07
0.13483 | -6.5739e-09 | -9.1383e-07
0.1371 | -7.5061e-09 | -1.0436e-06
0.13936 | -6.7581e-09 | -9.3891e-07
0.14163 | -3.9106e-09 | -5.402e-07
0.14389 | 1.082e-09 | 1.6011e-07
0.14625 | 8.1613e-09 | 1.1551e-06
0.1486 | 1.631e-08 | 2.3029e-06
0.15095 | 2.4204e-08 | 3.4171e-06
0.15331 | 3.0261e-08 | 4.2738e-06
0.15566 | 3.2934e-08 | 4.6526e-06
0.15801 | 3.0978e-08 | 4.3746e-06
0.16048 | 2.3127e-08 | 3.2564e-06
0.16294 | 9.122e-09 | 1.2575e-06
0.1654 | -1.0451e-08 | -1.5421e-06
0.16787 | -3.4126e-08 | -4.9357e-06
0.17033 | -5.9632e-08 | -8.5997e-06
0.1728 | -8.4115e-08 | -1.2124e-05
0.17534 | -1.0503e-07 | -1.5142e-05
0.17789 | -1.1816e-07 | -1.7039e-05
0.18044 | -1.2044e-07 | -1.7369e-05
0.18299 | -1.0959e-07 | -1.5791e-05
0.18553 | -8.4452e-08 | -1.2129e-05
0.18808 | -4.5211e-08 | -6.4001e-06
0.19092 | 1.3268e-08 | 2.1567e-06
0.19376 | 8.3439e-08 | 1.2449e-05
0.19659 | 1.5954e-07 | 2.3641e-05
0.19943 | 2.341e-07 | 3.4632e-05
0.20227 | 2.9859e-07 | 4.4164e-05
0.20511 | 3.4469e-07 | 5.0993e-05
0.20795 | 3.6531e-07 | 5.4054e-05
0.21079 | 3.5554e-07 | 5.2594e-05
0.21363 | 3.1224e-07 | 4.6125e-05
0.21647 | 2.3389e-07 | 3.4393e-05
0.21931 | 1.2196e-07 | 1.7591e-05
0.22216 | -1.8451e-08 | -3.5407e-06
0.225 | -1.7918e-07 | -2.779e-05
0.22792 | -3.549e-07 | -5.4369e-05
0.23084 | -5.2825e-07 | -8.0657e-05
0.23377 | -6.8552e-07 | -0.00010457
0.23669 | -8.1272e-07 | -0.00012395
0.23962 | -8.9674e-07 | -0.00013679
0.24254 | -9.2673e-07 | -0.00014137
0.24599 | -8.831e-07 | -0.00013465
0.24943 | -7.4881e-07 | -0.00011394
0.25288 | -5.2527e-07 | -7.936e-05
0.25633 | -2.219e-07 | -3.2293e-05
0.25977 | 1.4353e-07 | 2.4576e-05
0.26322 | 5.4576e-07 | 8.7359e-05
0.26666 | 9.5425e-07 | 0.00015131
0.2704 | 1.3663e-06 | 0.00021603
0.27414 | 1.7051e-06 | 0.00026941
0.27788 | 1.932e-06 | 0.00030526
0.28162 | 2.0152e-06 | 0.00031844
0.28536 | 1.9338e-06 | 0.00030545
0.2891 | 1.6791e-06 | 0.00026474
0.29373 | 1.1317e-06 | 0.00017695
0.29837 | 3.6459e-07 | 5.3431e-05
0.30301 | -5.5451e-07 | -9.5165e-05
0.30765 | -1.5314e-06 | -0.00025376
0.31228 | -2.4556e-06 | -0.00040442
0.31692 | -3.2158e-06 | -0.00052883
0.32156 | -3.7121e-06 | -0.00061039
0.3262 | -3.8693e-06 | -0.00063631
0.3309 | -3.6368e-06 | -0.00059773
0.3356 | -2.9991e-06 | -0.00049153
0.3403 | -1.9861e-06 | -0.00032215
0.345 | -6.668e-07 | -0.00010063
0.3497 | 8.54e-07 | 0.00015578
0.35441 | 2.4431e-06 | 0.00042483
0.35925 | 3.9946e-06 | 0.00068864
0.36409 | 5.3011e-06 | 0.00091171
0.36894 | 6.2222e-06 | 0.0010696
0.37378 | 6.6474e-06 | 0.0011428
0.37862 | 6.504e-06 | 0.001118
0.38347 | 5.7649e-06 | 0.00098948
0.38831 | 4.455e-06 | 0.00076084
0.39316 | 2.6544e-06 | 0.0004452
0.398 | 4.9044e-07 | 6.4224e-05
0.40284 | -1.8777e-06 | -0.00035451
0.40769 | -4.2708e-06 | -0.00077948
0.41278 | -6.6043e-06 | -0.0011958
0.41787 | -8.5364e-06 | -0.001542
0.42296 | -9.8728e-06 | -0.0017826
0.42805 | -1.0467e-05 | -0.00189
0.43314 | -1.0233e-05 | -0.0018474
0.43823 | -9.1511e-06 | -0.00165
0.44353 | -7.1797e-06 | -0.0012885
0.44882 | -4.4699e-06 | -0.00078912
0.45411 | -1.2159e-06 | -0.00018666
0.4594 | 2.3356e-06 | 0.00047398
0.46469 | 5.9073e-06 | 0.0011416
0.46998 | 9.2144e-06 | 0.0017626
0.4757 | 1.2181e-05 | 0.0023225
0.48141 | 1.4236e-05 | 0.0027122
0.48712 | 1.5148e-05 | 0.0028861
0.49283 | 1.4785e-05 | 0.0028164
0.49854 | 1.3132e-05 | 0.0024978
0.50425 | 1.0292e-05 | 0.0019477
0.51054 | 6.0396e-06 | 0.0011197
0.51682 | 9.6795e-07 | 0.00012679
0.5231 | -4.466e-06 | -0.00094299
0.52939 | -9.7599e-06 | -0.0019911
0.53567 | -1.4407e-05 | -0.0029165
0.54195 | -1.7943e-05 | -0.0036248
0.54824 | -1.9998e-05 | -0.0040387
0.55452 | -2.0339e-05 | -0.0041077
0.5608 | -1.8894e-05 | -0.0038132
0.56722 | -1.5671e-05 | -0.0031526
0.57363 | -1.0936e-05 | -0.0021767
0.57891 | -6.1771e-06 | -0.0011908
0.58418 | -9.1109e-07 | -9.4873e-05
0.58946 | 4.5703e-06 | 0.0010513
0.59473 | 9.9555e-06 | 0.0021827
0.6 | 1.4932e-05 | 0.0032332
0.60528 | 1.9219e-05 | 0.0041424
0.61055 | 2.2576e-05 | 0.0048579
0.61537 | 2.4643e-05 | 0.0053002
0.62019 | 2.5635e-05 | 0.0055134
0.62501 | 2.5503e-05 | 0.0054845
0.62983 | 2.4245e-05 | 0.0052116
0.63465 | 2.1902e-05 | 0.004701
0.64026 | 1.7923e-05 | 0.0038299
0.64588 | 1.2809e-05 | 0.0027052
0.65039 | 8.0717e-06 | 0.0016584
0.6549 | 2.9566e-06 | 0.00052366
0.65941 | -2.3536e-06 | -0.00065909
0.66392 | -7.6681e-06 | -0.0018476
0.66843 | -1.2796e-05 | -0.002999
0.67482 | -1.9381e-05 | -0.0044847
0.6812 | -2.4753e-05 | -0.0057035
0.68759 | -2.8521e-05 | -0.0065635
0.69258 | -3.0166e-05 | -0.0069409
0.69757 | -3.0576e-05 | -0.0070354
0.70257 | -2.9735e-05 | -0.0068406
0.70756 | -2.7677e-05 | -0.0063621
0.71255 | -2.4474e-05 | -0.0056141
0.71849 | -1.9351e-05 | -0.0044117
0.72444 | -1.3073e-05 | -0.0029304
0.72674 | -1.0401e-05 | -0.0022975
0.72904 | -7.6281e-06 | -0.0016394
0.73134 | -4.7823e-06 | -0.00096251
0.73364 | -1.8856e-06 | -0.00027217
0.73593 | 1.0403e-06 | 0.0004266
0.73992 | 6.1107e-06 | 0.0016409
0.74391 | 1.1073e-05 | 0.0028336
0.7479 | 1.5805e-05 | 0.0039751
0.75188 | 2.0192e-05 | 0.005037
0.75587 | 2.4128e-05 | 0.0059934
0.7612 | 2.8528e-05 | 0.0070668
0.76653 | 3.1774e-05 | 0.0078625
0.77186 | 3.3737e-05 | 0.008346
0.77719 | 3.4328e-05 | 0.0084925
0.78252 | 3.3527e-05 | 0.0082935
0.78912 | 3.0681e-05 | 0.0075823
0.79571 | 2.5946e-05 | 0.006392
0.8023 | 1.96e-05 | 0.0047868
0.80889 | 1.2037e-05 | 0.0028623
0.81548 | 3.7248e-06 | 0.00073465
0.82208 | -4.8377e-06 | -0.0014702
0.82867 | -1.3156e-05 | -0.003625
0.83558 | -2.1098e-05 | -0.0056951
0.84248 | -2.7766e-05 | -0.0074444
0.84939 | -3.2755e-05 | -0.0087616
0.8563 | -3.5769e-05 | -0.009563
0.86321 | -3.6642e-05 | -0.0097973
0.87012 | -3.5337e-05 | -0.0094477
0.87703 | -3.1951e-05 | -0.0085328
0.88394 | -2.6711e-05 | -0.0071074
0.89109 | -1.9696e-05 | -0.0051864
0.89824 | -1.1506e-05 | -0.0029287
0.90539 | -2.6386e-06 | -0.00046829
0.91254 | 6.3758e-06 | 0.0020496
0.91969 | 1.498e-05 | 0.0044687
0.92735 | 2.3158e-05 | 0.0067831
0.93502 | 2.9745e-05 | 0.0086603
0.94268 | 3.4351e-05 | 0.0099827
0.95034 | 3.672e-05 | 0.010669
0.958 | 3.6733e-05 | 0.010674
0.96567 | 3.4422e-05 | 0.0099989
0.97333 | 2.9978e-05 | 0.0086895
0.98105 | 2.3673e-05 | 0.0068185
0.98877 | 1.5972e-05 | 0.0045168
0.99649 | 7.3806e-06 | 0.0019306
1.0042 | -1.5592e-06 | -0.00077957
1.0119 | -1.0288e-05 | -0.0034445
1.0197 | -1.828e-05 | -0.0059021
1.0282 | -2.5754e-05 | -0.0082177
1.0368 | -3.1294e-05 | -0.0099483
1.0454 | -3.4559e-05 | -0.010978
1.0539 | -3.5366e-05 | -0.011236
1.0625 | -3.3724e-05 | -0.010713
1.0711 | -2.983e-05 | -0.009462
1.0796 | -2.4034e-05 | -0.0075842
1.0882 | -1.6786e-05 | -0.0052168
1.0968 | -8.5853e-06 | -0.002517
1.1054 | 3.7931e-10 | 0.00033234
1.1139 | 8.4028e-06 | 0.0031436
1.1225 | 1.6089e-05 | 0.0057361
1.1311 | 2.2601e-05 | 0.0079503
1.1403 | 2.7868e-05 | 0.0097563
1.1495 | 3.1075e-05 | 0.010867
1.1586 | 3.2067e-05 | 0.011215
1.1678 | 3.0855e-05 | 0.010793
1.177 | 2.7623e-05 | 0.0096518
1.1862 | 2.2686e-05 | 0.0078929
1.1954 | 1.6445e-05 | 0.0056496
1.2049 | 9.0446e-06 | 0.0029657
1.2145 | 1.2504e-06 | 0.00011291
1.224 | -6.3821e-06 | -0.0027062
1.2336 | -1.3333e-05 | -0.0052969
1.2432 | -1.9171e-05 | -0.0074922
1.2529 | -2.3633e-05 | -0.0091862
1.2626 | -2.6394e-05 | -0.010246
1.2723 | -2.7359e-05 | -0.010623
1.282 | -2.6562e-05 | -0.010317
1.2917 | -2.4146e-05 | -0.0093719
1.3018 | -2.0198e-05 | -0.0078115
1.3118 | -1.511e-05 | -0.0057808
1.3218 | -9.281e-06 | -0.0034318
1.3319 | -3.1246e-06 | -0.00092724
1.3419 | 2.9636e-06 | 0.0015731
1.3519 | 8.6208e-06 | 0.0039186
1.3623 | 1.3686e-05 | 0.0060386
1.3727 | 1.7666e-05 | 0.0077213
1.3831 | 2.0385e-05 | 0.0088827
1.3935 | 2.1767e-05 | 0.0094802
1.4039 | 2.1823e-05 | 0.0095075
1.4154 | 2.043e-05 | 0.0088997
1.427 | 1.7708e-05 | 0.0076958
1.4363 | 1.474e-05 | 0.0063699
1.4456 | 1.127e-05 | 0.0048057
1.4549 | 7.4772e-06 | 0.003081
1.4641 | 3.5399e-06 | 0.0012752
1.4734 | -3.7062e-07 | -0.00053358
1.4833 | -4.3143e-06 | -0.0023737
1.4932 | -7.892e-06 | -0.004058
1.503 | -1.0974e-05 | -0.0055221
1.5129 | -1.3467e-05 | -0.0067168
1.5227 | -1.531e-05 | -0.007608
1.5352 | -1.6674e-05 | -0.0082739
1.5478 | -1.6965e-05 | -0.0084176
1.5603 | -1.6269e-05 | -0.0080693
1.5728 | -1.4718e-05 | -0.0072853
1.5853 | -1.2477e-05 | -0.0061394
1.5978 | -9.7224e-06 | -0.004716
1.6103 | -6.6357e-06 | -0.0031031
1.6248 | -2.8616e-06 | -0.0011076
1.6368 | 2.4614e-07 | 0.00055452
1.6487 | 3.2409e-06 | 0.0021729
1.6607 | 6.0422e-06 | 0.0037023
1.6726 | 8.5923e-06 | 0.0051089
1.6846 | 1.0855e-05 | 0.0063698
1.6965 | 1.2815e-05 | 0.0074729
1.7179 | 1.5568e-05 | 0.009043
1.7392 | 1.7454e-05 | 0.010138
1.7606 | 1.8643e-05 | 0.010839
1.7819 | 1.9323e-05 | 0.011246
1.8032 | 1.9664e-05 | 0.011453
1.8246 | 1.98e-05 | 0.011536
1.8518 | 1.9823e-05 | 0.011551
1.8789 | 1.9786e-05 | 0.011527
1.9061 | 1.9745e-05 | 0.011501
1.9333 | 1.9717e-05 | 0.011484
1.9604 | 1.9703e-05 | 0.011475
1.9876 | 1.9699e-05 | 0.011473
2.0375 | 1.9704e-05 | 0.011477
2.0873 | 1.9709e-05 | 0.011481
2.1372 | 1.9711e-05 | 0.011482
2.187 | 1.971e-05 | 0.011481
2.2369 | 1.9709e-05 | 0.01148
2.3849 | 1.9703e-05 | 0.011477
2.5329 | 1.9705e-05 | 0.01148
2.6809 | 1.9711e-05 | 0.011482
2.8289 | 1.971e-05 | 0.011481
2.9769 | 1.9706e-05 | 0.01148
3.2709 | 1.9707e-05 | 0.011481
3.5649 | 1.9708e-05 | 0.011482
3.8589 | 1.9708e-05 | 0.011482
4.1529 | 1.9708e-05 | 0.011483
7.0682 | 1.9708e-05 | 0.011489
9.9836 | 1.9709e-05 | 0.011495
12.899 | 1.9709e-05 | 0.011502
23.5028 | 1.9712e-05 | 0.011528
34.1065 | 1.9717e-05 | 0.011557
44.7103 | 1.9723e-05 | 0.011586
55.314 | 1.9729e-05 | 0.011617
80.5048 | 1.9748e-05 | 0.011691
105.6955 | 1.9771e-05 | 0.011765
130.8863 | 1.9798e-05 | 0.011838
156.077 | 1.9828e-05 | 0.01191
212.3161 | 1.9902e-05 | 0.012063
268.5551 | 1.9988e-05 | 0.012201
324.7942 | 2.0081e-05 | 0.012326
381.0332 | 2.0179e-05 | 0.012436
465.6033 | 2.0335e-05 | 0.012579
550.1733 | 2.0497e-05 | 0.012699
634.7434 | 2.0666e-05 | 0.012789
719.3134 | 2.0836e-05 | 0.012872
803.8835 | 2.1009e-05 | 0.012935
903.4732 | 2.1214e-05 | 0.012998
1003.063 | 2.1421e-05 | 0.01305
1102.6527 | 2.1631e-05 | 0.013087
1202.2425 | 2.1842e-05 | 0.013118
1301.8322 | 2.2055e-05 | 0.013143
1466.0496 | 2.2411e-05 | 0.013172
1630.267 | 2.2772e-05 | 0.013194
1794.4843 | 2.3139e-05 | 0.013209
1958.7017 | 2.3512e-05 | 0.013221
2122.919 | 2.3892e-05 | 0.01323
2435.3611 | 2.4633e-05 | 0.013242
2747.8031 | 2.5395e-05 | 0.01325
3060.2452 | 2.6181e-05 | 0.013257
3372.6872 | 2.6988e-05 | 0.013263
3685.1292 | 2.7816e-05 | 0.013269
4319.7388 | 2.9557e-05 | 0.01328
4954.3483 | 3.1347e-05 | 0.01329
5588.9578 | 3.3187e-05 | 0.0133
6223.5673 | 3.507e-05 | 0.013309
6858.1768 | 3.6976e-05 | 0.013317
8135.1816 | 4.085e-05 | 0.013333
9412.1863 | 4.4732e-05 | 0.013347
10689.1911 | 4.8571e-05 | 0.013359
11966.1958 | 5.2321e-05 | 0.01337
13243.2005 | 5.594e-05 | 0.013379
15243.1905 | 6.1257e-05 | 0.013392
17243.1805 | 6.6144e-05 | 0.013402
19243.1705 | 7.0518e-05 | 0.013411
20000 | 7.205e-05 | 0.013414

## Sheet1
49009.2219 | 7.8816e-06 | 92473.058 | 2.6332e-05 | 65410.7469 | 4.7167e-05
50778.8982 | 5.6535e-05 | 95657.1856 | 0.00010976 | 67742.6717 | 0.00012755
52548.5745 | 0.00012926 | 98841.3131 | 0.00022507 | 70074.5965 | 0.00023826
54318.2508 | 0.00022865 | 102025.4407 | 0.00037795 | 72406.5213 | 0.00038419 | 47905 | 3.4616e-05
56087.9271 | 0.00035809 | 105209.5682 | 0.00057504 | 75156.2369 | 0.00061063 | 48841 | 0.0001046
58207.4586 | 0.00056041 | 108393.6958 | 0.00082549 | 77905.9525 | 0.00090983 | 49778 | 0.00019526
60326.9901 | 0.00082582 | 111577.8233 | 0.0011426 | 80655.6681 | 0.001305 | 50714 | 0.00030687
62446.5216 | 0.0011724 | 114761.9509 | 0.0015465 | 83405.3837 | 0.0018342 | 51650 | 0.00043966
64566.0532 | 0.0016303 | 118284.1445 | 0.0021313 | 86155.0993 | 0.0025567 | 52586 | 0.00059423
66685.5847 | 0.0022462 | 121806.338 | 0.0029197 | 88904.8149 | 0.0035587 | 53603 | 0.0007885
68805.1162 | 0.0030882 | 125328.5316 | 0.0039959 | 91884.9695 | 0.0050934 | 54619 | 0.0010142
71176.3396 | 0.004412 | 128850.7251 | 0.0054686 | 94581.9143 | 0.0070298 | 55636 | 0.0012781
73547.5631 | 0.0062918 | 132372.9187 | 0.0074686 | 97278.8592 | 0.00964 | 56652 | 0.0015903
75918.7866 | 0.0089115 | 135895.1123 | 0.010144 | 99975.804 | 0.01308 | 57669 | 0.001965
78290.01 | 0.012465 | 139417.3058 | 0.013649 | 102672.7489 | 0.017502 | 58685 | 0.0024182
80661.2335 | 0.017138 | 143870.7726 | 0.019509 | 105369.6938 | 0.023035 | 60012 | 0.0031597
83032.457 | 0.023091 | 148324.2394 | 0.027209 | 108554.1868 | 0.031117 | 61339 | 0.0041099
85403.6805 | 0.030419 | 152777.7062 | 0.036917 | 111738.6799 | 0.040918 | 62666 | 0.0053064
88131.3364 | 0.040577 | 157231.1729 | 0.048643 | 114923.173 | 0.052364 | 63993 | 0.0067822
90858.9923 | 0.052439 | 161684.6397 | 0.062262 | 118107.666 | 0.065266 | 65319 | 0.0085715
93586.6483 | 0.065797 | 166138.1065 | 0.077524 | 121292.1591 | 0.079362 | 66646 | 0.010726
96314.3042 | 0.080329 | 170591.5732 | 0.09406 | 125082.3085 | 0.097281 | 68200 | 0.013846
99041.9602 | 0.095719 | 175861.2316 | 0.11483 | 128872.458 | 0.11605 | 69753 | 0.017873
101769.6161 | 0.11168 | 181130.8899 | 0.13641 | 132662.6074 | 0.13528 | 71307 | 0.023222
104497.2721 | 0.12796 | 186400.5482 | 0.15841 | 136452.7568 | 0.15469 | 72861 | 0.030407
108390.5394 | 0.15138 | 191670.2065 | 0.1805 | 140242.9063 | 0.17407 | 74414 | 0.039952
112283.8068 | 0.17468 | 196939.8648 | 0.20246 | 144984.8101 | 0.19803 | 75968 | 0.052319
116177.0742 | 0.19753 | 202209.5231 | 0.22414 | 149726.714 | 0.22151 | 77592 | 0.068664
120070.3416 | 0.21985 | 209693.6616 | 0.25424 | 154468.6178 | 0.24438 | 79216 | 0.088797
123963.609 | 0.24163 | 217177.8001 | 0.28342 | 159210.5217 | 0.26658 | 80839 | 0.11275
127856.8763 | 0.26257 | 224661.9387 | 0.31152 | 163952.4255 | 0.28807 | 82463 | 0.14013
131750.1437 | 0.28288 | 232146.0772 | 0.33848 | 170916.8102 | 0.31835 | 84087 | 0.17013
135643.4111 | 0.30248 | 239630.2158 | 0.36445 | 177881.1949 | 0.34712 | 85711 | 0.20171
139536.6785 | 0.32137 | 247114.3543 | 0.38931 | 184845.5795 | 0.37444 | 87485 | 0.23693
144075.2544 | 0.34256 | 258132.7099 | 0.42409 | 191809.9642 | 0.40038 | 89259 | 0.27213
148613.8303 | 0.36288 | 269151.0655 | 0.45678 | 198774.3489 | 0.42502 | 91033 | 0.30655
153152.4062 | 0.38235 | 280169.4211 | 0.4875 | 209958.0153 | 0.46207 | 92808 | 0.34011
157690.9821 | 0.40105 | 291187.7767 | 0.5164 | 221141.6818 | 0.4963 | 94582 | 0.37229
162229.558 | 0.41898 | 294117.6471 | 0.52378 | 232325.3483 | 0.528 | 96356 | 0.4033
166768.1339 | 0.4362 |  |  | 243509.0147 | 0.55741 | 98460 | 0.43837
175972.9835 | 0.46909 |  |  | 254692.6812 | 0.58479 | 100560 | 0.47165
185177.8331 | 0.49952 |  |  | 274727.1928 | 0.62921 | 102670 | 0.50319
194382.6828 | 0.52777 |  |  | 294117.6471 | 0.66741 | 104770 | 0.53305
203587.5324 | 0.55404 |  |  |  |  | 106870 | 0.56132
212792.3821 | 0.57855 |  |  |  |  | 109790 | 0.59806
231797.4812 | 0.62418 |  |  |  |  | 112710 | 0.63212
250802.5803 | 0.66422 |  |  |  |  | 115630 | 0.66365
269807.6794 | 0.69971 |  |  |  |  | 118550 | 0.69279
288812.7786 | 0.73114 |  |  |  |  | 121470 | 0.71976
294117.6471 | 0.73929 |  |  |  |  | 125590 | 0.7543
[6 empty] | 129710 | 0.7851
[6 empty] | 133840 | 0.81247
[6 empty] | 137960 | 0.83673
[6 empty] | 142080 | 0.85815
[6 empty] | 150000 | 0.89231
[6 empty] | 156960 | 0.91594